## Slide 2: Agenda
1. Understanding the Basis of Source Separation via an Intuitive Example-Driven
Approach
2. Discussion of Experiment Design
3. Graph Blind Source Separation
4. Graph Blind Source Separation results
  Summary of major outcomes
  Problems and future research

## Slide 3: Experiment Design Goal
Goals of this project:
Evaluate ICA - Algorithms in terms of robustness
Elaborating new approaches to increase robustness against noise and outliers in EEG - measurements
Problems:
The solution of ICA is not unique: and can pertubed, scaled or have sign changes
Find metrics which deal with that
How can we evaluate the ICA-Algorithms?
The ICA-Algorithms return the reconstructed signal and an estimated mixing matrix
2 options: compare input and reconstructed signals or compare mixing matrix with its estimate

## Slide 4: Experiment Design Metrics: MD, MSE
Mean squared Error (MSE):
Taking the Mean of the squared residuals
Obtained values = number of signals take mean or median
Minimum Distance Index (based on MM):
Key idea: The inverse of the Mixing Matrix equals the Unmixing Matrix, so the multiplication is the identity matrix
Therefore: if The Algorithm performed well
Where considers Permutation P, Scaling D and sign changes J, p = number of signals
= Minimize Frobenius Norm
0 indicates a good performance, 1 indicates a bad one
residuals
Problem:
Required groundtruth data for X and W

## Slide 5: Experiment Design General approach
2. Run different Algorithms for different cases:
  different Sample Sizes,
  different levels of contamination (noise, outlier)
3. Evaluate on MD or MSE
What we did:
We generated ideal Input Signals and a random ideal Mixing Matrix. groundtruth
Standard Signals:
ECG Signal: 2Hz
Sinus: 5Hz
Rectangle: 10Hz
Sawtooth: 25Hz
fs: 1000Hz
Normalized to [-1,1]
Brainwaves [3]:
4. Do this multiple times (reproducability)
Monte Carlo Study
5. Statistical Analyses on multiple outcomes
interpret results

## Slide 6: Experiment Design Monte Carlo Flow Chart
Input Signals
Mix Signals
Contaminate Signals
Whitening
ICA
Evaluate on Metrics
Empirical Data Analyses
Runs = 1000
Standard input signals
ECG, Sinus, Rectangle, Sawtooth
3. Contaminate signals
Add single or patchy Outlier (100std) and/or white noise (40dBB)
2. Mix Signals with mixing matrix (random)
4. Whitening process
Decorrelate Signals: meaning that the sample covariance matrix is diagonal and that all the diagonal elements are equal.
5. Perform ICA
4 Algos: JADE, RADICAL, CoroICA, PowerICA
6. Evaluate single run
Minimum Distance, MSE
7. Evaluate ICA
Get 1000 MDs and MSEs.
BoxPlot

## Slide 7: Experiment Design Experiment Types
1.) Focus on Sample Size
Initialize standard signals with different Sample Sizes: 1000, 2500, 5000, 10000, 15000
Type I: No Noise, No Outlier, 1000 runs
Type II: 40dB SNR, No Outlier, 1000 runs
Type III: No Noise, 0.1% Outlier with std = 100, 1000 runs
Type IV: 40dB SNR, 0.1% Outlier with std = 100, 1000 runs
2.) Focus on amount of noise/outlier – Breakdown Point Analyses
Initialize standard signals with fix Sample Size of 10000
Type V: increase noise, SNR: 40 dB, 30 dB, 20 dB, 10 dB, 6 dB, 3 dB
Type VI: increase Outlier patchy %: 0.1, 0.25, 0.5, 1, 1.5, 5, 10, 20, 50 with 100 STD
Type VII: increase Outlier impulsive %: 0.1, 0.25, 0.5, 1, 1.5, 5, 10, 20, 50 with 100 STD
N
N
Notes: ICONS !!!

## Slide 8: Results Interpreting the Minimum Distance
MD = 0.6
MD = 0.4
: Good results, small spikes, some sign changes
Notes: MD not linear ..

## Slide 9: Results Interpreting the Minimum Distance
MD = 0.6
MD = 0.4
: Good results, small spikes, some sign changes
: signals are recognizable, bigger spikes

## Slide 10: Results Interpreting the Minimum Distance
: Good results, small spikes, some sign changes
: signals are recognizable, bigger spikes
: not all signal reconstructed, bigger spikes
Notes: MD no linear measure – see 0.4 to 0.6

## Slide 11: Results Type 1 - 4
Type 1 (ideal) | Median MD | Median MSE
PowerICA |  | 
Jade |  | 
CoroICA |  | 
Radical |  | 
Type 1 (ideal) | Median MD | Median MSE
PowerICA |  | 
Jade |  | 
CoroICA |  | 
Radical |  | 
Sample Size 10000
PowerICA – Type 1: No Noise, No Outlier
Sample Size
1000
2500
5000
10000
15000
0.0
0.1
0.2
0.2
0.4
0.6
MD
MSE
Pros:
All Algorithms are able to reconstruct the source signals
Cons:
Radical: Long runtime unusable for real time processing
CoroICA: Only good results for tested signals by Hyperparameter tuning

## Slide 12: Results Type 1 - 4
Sample Size of min. n = 5000 is necessary
Even 0.1% Outlier causes failure for every algorithm
PowerICA | Median MD | Median MSE
Type 1 (ideal) |  | 
Type 2 (noise) |  | 
Type 3 (outlier) |  | 
Type 4 (noise + outlier) |  | 
PowerICA | Median MD | Median MSE
Type 1 (ideal) |  | 
Type 2 (noise) |  | 
Type 3 (outlier) |  | 
Type 4 (noise + outlier) |  | 
PowerICA – Type 1: No Noise, No Outlier
Sample Size
1000
2500
5000
10000
15000
0.0
0.1
0.2
0.2
0.4
0.6
MD
MSE
For 40dB SNR variance increases slightly, more outliers
Hop at 10000: Drawback of the MD – metric is not perfect
Next Step:
Breakdown Analyses – How much noise does it take to cause a breakdown?
Sample Size 10000

## Slide 13: Results Type 5 - 7
Robust Covariance Estimation in Whitening:
Causes breakdown
Robust objective Function in higher Order statistics:
JADE: Causes breakdown
Did our robustness plugins improve the results ?
Type 6-7:
Complete breakdown even for 1 outlier
Type 5:
Noise <20dB SNR breakdown
Power ICA – Type 5: 3-40dB Noise, No Outlier
SNR (additive noise)
3.0
6.0
30.0
40.0
0.2
0.4
0.8
MD
MSE
10.0
20.0
0.6
0.0
0.2
0.6
0.4
Intermediate conclusion:
Preprocessing of the data essential! -> Outlier removal + smoothing
We need new approaches to improve the performance
Notes: Felix Kasten

## Slide 14: Towards EEG data Synthetic EEG artifact reconstruction
Synthetic - EEG data
3. We generated realistic artifacts and added one on each channel
Artifacts which typically come along with EEG data [Delorme2007]
Optional: Add single or patchy (100std) Outliers and white noise (3std)
1. Use standard signals as input signals
2. Mix Data with random mixing matrix
4. Performed ICA
Muscle
Eye Blink
Electrical
Electrical
Realistic artifacts [Delorme2007]
Notes: Show reconstructed artifacts

## Slide 15: Towards EEG data Results with synthetic EEG data
Able to reconstruct the EEG signals and Artifacts

## Slide 16: Towards EEG data Synthetic EEG artifact reconstruction
Synthetic - EEG data
3. We generated realistic artifacts and added one on each channel
Artifacts which typically come along with EEG data [Delorme2007]
Optional: Add single or patchy (1000std) Outliers and white noise (3std)
1. Use real EEG data as input signals
2. Mix Data with random mixing matrix
4. Perform ICA
EEG - data
Muscle
Eye Blink
Electrical
Electrical
Realistic artifacts [Delorme2007]
Notes: Show reconstructed artifacts

## Slide 17: Experiment Design Definition of test characteristics
1.) Focus on Sample Size
Initialize standard signals with different Sample Sizes: 1000, 2500, 5000, 10000, 15000 and evaluate on 1000 runs
2.) Focus on amount of noise/outlier – Breakdown Point Analyses
Initialize standard signals with fix Sample Size of 10000
    Type V: increase noise SNR: 40 dB, 30 dB, 20 dB, 10 dB, 6 dB, 3 dB
    Type VI: increase Outlier patchy %: 0.1, 0.25, 0.5, 1, 1.5, 5, 10, 20, 50 with 100 STD
    Type VII: increase Outlier impulsive %: 0.1, 0.25, 0.5, 1, 1.5, 5, 10, 20, 50 with 100 STD
N
Type I: No Noise, No Outlier
Type II: 40dB SNR, No Outlier
Type II: No Noise, 0.1% Outlier with std = 100
Type IV: 40dB SNR, 0.1% Outlier with std = 100
Notes: ICONS !!!

## Slide 18: Literature
[Delorme2007] - Enhanced detection of artifacts in EEG data using higher-order statistics and independent component analysis in NIH 2007
[2] - https://mne.tools/dev/overview/datasets_index.html visited 02.16.2021
[3] - https://brainworksneurotherapy.com/what-are-brainwaves

## Slide 19: Results Type 5 - 7
Robust Covariance Estimation in Whitening:
Causes breakdown
Robust objective Function in higher Order statistics:
JADE: Causes breakdown
Did our Robustness Plugins improve the results ?
Type 6-7:
Complete breakdown even for 1 outlier
Type 5:
Noise <20dB SNR breakdown
Conclusion:
Preprocessing of the data essential! -> Outlier removal + Smoothing (e.g Low pass Filtering)
We need new approaches to improve the performance

## Slide 20: Minimum Distance
MD of 0 -> good, MD->1 bad, Optimum = Identity, Only possible if Ground truth
availavble

## Slide 21: Results Type 1 - 4
Sample Size of min. n = 5000 is neccessary
Even 0.1% Outlier causes failure for every algorithm
For 40dB SNR -> variance increses slightly, more outliers
PowerICA | Median MD | Median MSE | Median SNR [dB]
Type 1 (ideal) |  |  | 
Type 2 (noise) |  |  | 
Type 3 (outlier) |  |  | 
Type 4 (noise + outlier) |  |  | 
PowerICA | Median MD | Median MSE | Median SNR [dB]
Type 1 (ideal) |  |  | 
Type 2 (noise) |  |  | 
Type 3 (outlier) |  |  | 
Type 4 (noise + outlier) |  |  | 
Power ICA
Next Step:
How much noise does it take to cause a breakdown ?

## Slide 22: MSE, SNR
Evaluate for every single signal

## Slide 23
Delorme one slide -> near eeg, closer to reality
2. cases -> classical rosbustness
-> eeg like artifacts
Good and bad recon
Signal to Noise Ratio (SNR):
Considered here as the variance of the resiudal
Transformed in dB
4 values take mean or median
Possible Reasons:
Distributions don‘t follow the expected model
Important values are weighted down by new objective functions
Matrix fett schreiben
Eventuelle andere Signale zeigen auf slide 1
4 Signale ersetzen
Drop bei 10000 erklären -> auf drawbacks von MD hinweisen.
Evtl auch nur bis 5000 zeigen

## Slide 24: Experiment Design Monte Carlo Flow Chart III
Input Signals
Mix Signals
Contaminate Signals
Whitening
ICA
Evaluate on Metrics
Empirical Data Analyses
Runs = 1000
How do we measure the performance of the Algorithms ?
1. Evaluation on Metrics:
= recovered Signals, = estimated Mixing Matrix
Evaluate the performance each run
Based on Mixing Matrix: Minimum Distance:
Based on reconstructed Signals: Mean squared error: ), Signal to Noise Ratio: )
2. Empirical Data Analyses
Get 1000 (#runs) metrics
Calcualte: Mean, Standard Deviation, Median, nMAD of MD,MSE,SNR
BoxPlot
vs.

## Slide 25: Experiment Design Monte Carlo Flow Chart II
Input Signals
Mix Signals
Contaminate Signals
Whitening
ICA
Evaluate on Metrics
Empirical Data Analyses
Runs = 1000
Independent Component Analyses
Whitening
Plug in robustness
Perform Robust Covariance Estimation from Python Package RobustSP
Spatial Median
M-Estimator of Scatter Matrix (Huber)
Perform ICA by 4 different Algorithms: JADE, RADICAL, CoroICA, PowerICA
Plug in Robustness JADE: Replace Expected Value by robust objective function.
Huber, Tukey

## Slide 26: Results Interpreting the Minimum Distance
MD = 0.6
MD = 0.4
MD = 0.2